## Disk 1 11182012.csv
Document Name: Disk 1 11182012
Plate Type: Standard Curve
User: 7500 User
Document Information
Operator: 7500 User
Run Date: Sunday | November 18 | 2012 18:37:13
Last Modified: Sunday | November 18 | 2012 20:26:00
Instrument Type: Applied Biosystems 7500 Fast Real-Time PCR System
Exporting Mode: Based on Selected Wells and Report Setting
Comments:
SDS v1.4
Thermal Cycler Profile
Stage | Repetitions | Temperature | Time | Ramp Rate | Auto Increment
1 | 1 | 95.0 °C | 0:30 | Auto
2 | 40 | 94.0 °C | 0:15 | Auto
|  | 55.0 °C | 0:30 | Auto
|  | 72.0 °C | 0:30 | Auto
3 (Dissociation) | 1 | 95.0 °C | 0:15 | Auto | [21 empty] | Figure 6D | 1 | HCRcTerY1 vs HCRcTerY2
|  | 60.0 °C | 1:00 | Auto
|  | 95.0 °C | 0:15 | Auto | [23 empty] | 0.23085
|  | 60.0 °C | 0:15 | Auto
Fast 7500 Mode | [23 empty] | YNB
Data Collection : Stage 2 Step 2 | [11 empty] | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | PMA1 | GFP70 | GFP70/PMA1 | Average | SD |  | Avr. | SD |  | 2 | HCRcTerYC3 vs HCRcTerYC10
PCR Volume: 20 µL | [12 empty] | Log10(x) | x | Avergae | SD |  | 0.98635 | 0.077668 | 0.078743 | 0.082994 | 0.0062624 | HCRc | 0.082994 | 0.0062624
[6 empty] | PMA1 | [5 empty] | 14.1664 | -0.0059691 | 0.98635 | 0.93273 | 0.061678 | YNB SKD233 | 0.86533 | 0.07804 | 0.090185 |  |  | HCRd | 0.25952 | 0.012723 |  |  | 0.45578
Well | Sample Name | Detector | Task | Ct | 1 | 14.1664 | 14.2349 | 0 | 14.2349 |  | YNB SKD233 | 14.3226 | -0.062821 | 0.86533 |  |  |  | 0.94651 | 0.075771 | 0.080053 |  |  | HCRcTerY1 | 0.17705 | 0.0030099
A1 |  | PMA1 | Unknown | 14.1664 |  | 14.3226 |  | -1 | 16.7542 |  |  | 14.2156 | -0.023876 | 0.94651 | [8 empty] | HCRcTerY2 | 0.14995 | 0.033112
A2 |  | GFP70 | Unknown | 18.4878 |  | 14.2156 |  | -2 | 19.6785 | [8 empty] | 0.48141 | 0.95533 | 1.9845 | 1.7747 | 0.18181 | HCRcTerYC3 | 0.077157 | 0.013767 |  | 3 | 1 versus 2 |  | 0.17786 | 0.077652
A3 |  | PMA1 | Unknown | 16.7801 | 0.1 | 16.7801 | 16.7542 | -3 | 22.4184 |  |  | GFP70 | y = -3.1843x + 14.954 |  |  |  | M199 SKD233 | 0.57016 | 0.95609 | 1.6769 |  |  | HCRcTerYC10 | 0.086277 | 0.013313 |  |  |  |  | 0.17958 | 0.090669
A4 |  | GFP70 | Unknown | 18.0434 |  | 16.6136 | [6 empty] | Log10(x) | x | Avergae | SD |  | 0.65823 | 1.0944 | 1.6627 |  |  | HCRdTerH5 | 0.094756 | 0.010369 |  |  | 4.0127e-05 |  | 0.17373 | 0.063149
A5 |  | PMA1 | Unknown | 19.6576 |  | 16.869 | [5 empty] | 18.4878 | -1.1098 | 0.077668 | 0.07716 | 0.0012169 | [6 empty] | HCRdTerH6 | 0.12878 | 0.035183 |  |  |  |  | 0.13325 | 0.072075
A6 |  | GFP70 | Unknown | 21.6183 | 0.01 | 19.6576 | 19.6785 |  |  |  | YNB SKD233 | 18.4812 | -1.1077 | 0.07804 |  |  |  | 0.82849 | 0.14735 | 0.17786 | 0.17705 | 0.0030099 | HCRdTerHC2 | 0.20814 | 0.016558 |  |  |  |  | 0.12852 | 0.088284
A7 |  | PMA1 | Unknown | 22.169 |  | 19.634 | [5 empty] | 18.522 | -1.1205 | 0.075771 |  |  | YNB HCRcTerN1 | 0.87235 | 0.15666 | 0.17958 |  |  | HCRdTerHC5 | 0.19516 | 0.021908 |  |  |  |  | 0.18809 | 0.098472
A8 |  | GFP70 | Unknown | 24.3895 |  | 19.744 | [11 empty] | 0.9283 | 0.16127 | 0.17373 | [6 empty] | 4 | 1 versus HCRc
A9 |  | PMA1 | Unknown | 14.3843 | 0.001 | 22.169 | 22.4184 |  |  |  |  | PMA1 | y = -2.7475x + 14.15 | [14 empty] | 0.0012906
A10 |  | GFP70 | Unknown | 15.3966 |  | 22.8789 | [6 empty] | Log10(x) | x | Avergae | SD |  | 0.46808 | 0.72612 | 1.5513 | 1.5043 | 0.11613
A11 |  | PMA1 | Unknown | 14.5634 |  | 22.2073 | [5 empty] | 15.0223 | -0.31749 | 0.48141 | 0.56993 | 0.088414 | M199 HCRcTerN1 | 0.48517 | 0.77125 | 1.5896 |  |  | HCRc | 0.082994 | 0.0062624
A12 |  | GFP70 | Unknown | 14.9729 | [6 empty] | M199 SKD233 | 14.8204 | -0.244 | 0.57016 |  |  |  | 0.51453 | 0.70598 | 1.3721 |  |  | HCRd | 0.25952 | 0.012723 |  |  | 5 | 2 versus HCRc
B1 |  | PMA1 | Unknown | 14.3226 | [7 empty] | 14.649 | -0.18162 | 0.65823 | [8 empty] | HCRdTerH5 | 0.094756 | 0.010369 |  |  |  | 0.88037
B2 |  | GFP70 | Unknown | 18.4812 |  | GFP70 |  | 0 | 14.9542 | [8 empty] | 0.70719 | 0.094236 | 0.13325 | 0.14995 | 0.033112 | HCRdTerH6 | 0.12878 | 0.035183
B3 |  | PMA1 | Unknown | 16.6136 | 1 | 15.0172 | 14.9542 | -1 | 18.0162 |  |  | GFP70 | y = -3.1843x + 14.954 |  |  |  | YNB HCRcTerN2 | 0.76966 | 0.098914 | 0.12852 |  |  | HCRdTerHC2 | 0.20814 | 0.016558
B4 |  | GFP70 | Unknown | 18.0266 |  | 15.0161 |  | -2 | 21.567 |  |  |  | Log10(x) | x | Avergae | SD |  | 0.84852 | 0.1596 | 0.18809 |  |  | HCRdTerHC5 | 0.19516 | 0.021908 |  |  | 6 | 1 versus HCRd
B5 |  | PMA1 | Unknown | 19.634 |  | 14.8292 |  | -3 | 24.385 |  |  | 15.0172 | -0.019847 | 0.95533 | 1.002 | 0.080098 | [12 empty] | 0.00056586
B6 |  | GFP70 | Unknown | 21.6473 | 0.1 | 18.0434 | 18.0162 |  |  |  | M199 SKD233 | 15.0161 | -0.019502 | 0.95609 |  |  |  | 0.64098 | 0.72612 | 1.1328 | 1.1666 | 0.078883
B7 |  | PMA1 | Unknown | 22.8789 |  | 18.0266 | [5 empty] | 14.8292 | 0.039192 | 1.0944 |  |  | M199 HCRcTerN2 | 0.6137 | 0.77125 | 1.2567 | [7 empty] | 7 | 2 versus HCRd
B8 |  | GFP70 | Unknown | 24.7498 |  | 17.9785 | [11 empty] | 0.63589 | 0.70598 | 1.1102 | [8 empty] | 2.4547e-07
B9 |  | PMA1 | Unknown | 14.3228 | 0.01 | 21.6183 | 21.567 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
B10 |  | GFP70 | Unknown | 15.3132 |  | 21.6473 | [6 empty] | Log10(x) | x | Avergae | SD |  | 0.47979 | 0.037257 | 0.077652 | 0.077157 | 0.013767
B11 |  | PMA1 | Unknown | 14.4624 |  | 21.4355 | [5 empty] | 14.3843 | -0.081712 | 0.82849 | 0.87638 | 0.050024 | YNB HCRcTerC3 | 0.5135 | 0.046558 | 0.090669
B12 |  | GFP70 | Unknown | 14.9295 | 0.001 | 24.3895 | 24.385 |  |  |  | YNB HCRcTerN1 | 14.3228 | -0.059308 | 0.87235 |  |  |  | 0.63814 | 0.040298 | 0.063149
C1 |  | PMA1 | Unknown | 14.2156 |  | 24.7498 | [5 empty] | 14.2487 | -0.032313 | 0.9283
C2 |  | GFP70 | Unknown | 18.522 |  | 24.0158 | [11 empty] | 0.27935 | 0.89844 | 3.2162 | 2.3185 | 0.78063
C3 |  | PMA1 | Unknown | 16.869 |  | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954 |  |  |  | M199 HCRcTerN2 | 0.4217 | 0.81807 | 1.9399
C4 |  | GFP70 | Unknown | 17.9785 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.43828 | 0.78857 | 1.7992
C5 |  | PMA1 | Unknown | 19.744 |  | 14.5634 | -0.15046 | 0.70719 | 0.77512 | 0.070824 |  | 17.6022 | -0.83164 | 0.14735 | 0.15509 | 0.007089
C6 |  | GFP70 | Unknown | 21.4355 | YNB HCRcTerN2 | 14.4624 | -0.1137 | 0.76966 |  |  | YNB HCRcTerN1 | 17.5175 | -0.80504 | 0.15666 |  |  |  | 0.72751 | 0.052435 | 0.072075 | 0.086277 | 0.013313
C7 |  | PMA1 | Unknown | 22.2073 |  | 14.346 | -0.071338 | 0.84852 |  |  |  | 17.4774 | -0.79245 | 0.16127 |  |  | YNB HCRcTerC10 | 0.74173 | 0.065483 | 0.088284
C8 |  | GFP70 | Unknown | 24.0158 | [13 empty] | 0.77926 | 0.076736 | 0.098472
C9 |  | PMA1 | Unknown | 14.2487 |  | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
C10 |  | GFP70 | Unknown | 15.4355 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.16735 | 0.22363 | 1.3363 | 1.5674 | 0.39432
C11 |  | PMA1 | Unknown | 14.346 |  | 18.2204 | -1.0258 | 0.094236 | 0.11758 | 0.036461 |  | 15.0558 | -0.32968 | 0.46808 | 0.48926 | 0.023494 | M199 HCRcTerC10 | 0.10688 | 0.21619 | 2.0227
C12 |  | GFP70 | Unknown | 14.9366 | YNB HCRcTerN2 | 18.1534 | -1.0047 | 0.098914 |  |  | M199 HCRcTerN1 | 15.013 | -0.3141 | 0.48517 |  |  |  | 0.16701 | 0.22433 | 1.3432
D1 |  | PMA1 | Unknown | 15.0263 |  | 17.4918 | -0.79697 | 0.1596 |  |  |  | 14.9429 | -0.28859 | 0.51453
D2 |  | GFP70 | Unknown | 15.1021 | [13 empty] | 0.76445 | 0.18886 | 0.24705 | 0.25952 | 0.012723
D3 |  | PMA1 | Unknown | 14.5296 |  | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954 |  |  |  | YNB SKD232 | 0.72374 | 0.18746 | 0.25901
D4 |  | GFP70 | Unknown | 17.0253 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.8191 | 0.22319 | 0.27248
D5 |  | PMA1 | Unknown | 14.4705 |  | 14.6807 | -0.19316 | 0.64098 | 0.63019 | 0.014508 |  | 15.3966 | -0.13899 | 0.72612 | 0.73445 | 0.033427
D6 |  | GFP70 | Unknown | 15.4706 | M199 HCRcTerN2 | 14.7326 | -0.21205 | 0.6137 |  |  | M199 HCRcTerN1 | 15.3132 | -0.1128 | 0.77125 |  |  |  | 0.35522 | 0.68828 | 1.9376 | 1.6776 | 0.24369
D7 |  | PMA1 | Unknown | 15.4567 |  | 14.6902 | -0.19662 | 0.63589 |  |  |  | 15.4355 | -0.15121 | 0.70598 |  |  | M199 SKD232 | 0.34165 | 0.5605 | 1.6406
D8 |  | GFP70 | Unknown | 16.7925 | [13 empty] | 0.45212 | 0.65758 | 1.4545
D9 |  | PMA1 | Unknown | 14.5801 |  | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
D10 |  | GFP70 | Unknown | 16.5624 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.33451 | 0.031665 | 0.094662 | 0.094756 | 0.010369
D11 |  | PMA1 | Unknown | 14.4105 |  | 14.9729 | -0.0059354 | 0.98643 | 1.0057 | 0.016854 |  | 15.0263 | -0.31894 | 0.47979 | 0.54381 | 0.08341 | YNB HCRdTerNH5 | 0.38956 | 0.040971 | 0.10517
D12 |  | GFP70 | Unknown | 15.2855 | M199 HCRcTerN2 | 14.9295 | 0.007694 | 1.0179 |  |  | YNB HCRcTerC3 | 14.9453 | -0.28946 | 0.5135 |  |  |  | 0.48258 | 0.040746 | 0.084435
E1 |  | PMA1 | Unknown | 14.9453 |  | 14.9366 | 0.0054643 | 1.0127 |  |  |  | 14.686 | -0.19509 | 0.63814
E2 |  | GFP70 | Unknown | 15.2317 | [13 empty] | 0.40616 | 0.26463 | 0.65153 | 0.58737 | 0.074607
E3 |  | PMA1 | Unknown | 14.5065 |  | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954 |  |  |  | M199 HCRdTerNH5 | 0.44108 | 0.22297 | 0.50551
E4 |  | GFP70 | Unknown | 17.0721 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.42096 | 0.25472 | 0.60508
E5 |  | PMA1 | Unknown | 14.5358 |  | 14.5296 | -0.13816 | 0.72751 | 0.7495 | 0.026737 |  | 19.5037 | -1.4288 | 0.037257 | 0.041371 | 0.0047425
E6 |  | GFP70 | Unknown | 15.7546 | YNB HCRcTerC10 | 14.5065 | -0.12975 | 0.74173 |  |  | YNB HCRcTerC3 | 19.1955 | -1.332 | 0.046558 |  |  |  | 0.69736 | 0.072418 | 0.10385 | 0.12878 | 0.035183
E7 |  | PMA1 | Unknown | 15.2749 |  | 14.4476 | -0.10832 | 0.77926 |  |  |  | 19.3952 | -1.3947 | 0.040298 |  |  | YNB HCRdTerNH6 | 0.5813 | 0.065958 | 0.11347
E8 |  | GFP70 | Unknown | 17.0294 | [13 empty] | 0.43128 | 0.072896 | 0.16902
E9 |  | PMA1 | Unknown | 14.7973 |  | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
E10 |  | GFP70 | Unknown | 16.4906 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.452 | 0.31253 | 0.69144 | 0.70817 | 0.038291
E11 |  | PMA1 | Unknown | 14.3385 |  | 19.0311 | -1.2804 | 0.052435 | 0.064885 | 0.012161 |  | 15.6717 | -0.55385 | 0.27935 | 0.37978 | 0.087364 | M199 HCRdTerNH6 | 0.43776 | 0.32919 | 0.75198
E12 |  | GFP70 | Unknown | 15.1945 | YNB HCRcTerC10 | 18.7238 | -1.1839 | 0.065483 |  |  | M199 HCRcTerC3 | 15.1803 | -0.375 | 0.4217 |  |  |  | 0.46518 | 0.31683 | 0.68109
F1 |  | PMA1 | Unknown | 14.686 |  | 18.5045 | -1.115 | 0.076736 |  |  |  | 15.1343 | -0.35825 | 0.43828
F2 |  | GFP70 | Unknown | 15.2825 | [13 empty] | 0.80387 | 0.17882 | 0.22245 | 0.20814 | 0.016558
F3 |  | PMA1 | Unknown | 14.4476 |  | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954 |  |  |  | YNB HCRdTerCH2 | 0.85387 | 0.18098 | 0.21196
F4 |  | GFP70 | Unknown | 17.021 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.82988 | 0.15768 | 0.19001
F5 |  | PMA1 | Unknown | 14.3881 |  | 16.2831 | -0.77638 | 0.16735 | 0.14708 | 0.034814 |  | 15.1021 | -0.046509 | 0.89844 | 0.83503 | 0.056867
F6 |  | GFP70 | Unknown | 15.5337 | M199 HCRcTerC10 | 16.8181 | -0.9711 | 0.10688 |  |  | M199 HCRcTerC3 | 15.2317 | -0.087209 | 0.81807 |  |  |  | 0.38757 | 0.78686 | 2.0302 | 2.3887 | 0.31068
F7 |  | PMA1 | Unknown | 15.0194 |  | 16.2855 | -0.77725 | 0.16701 |  |  |  | 15.2825 | -0.10316 | 0.78857 |  |  | M199 HCRdTerCH2 | 0.32864 | 0.84038 | 2.5571
F8 |  | GFP70 | Unknown | 16.8453 | [13 empty] | 0.32207 | 0.83059 | 2.5789
F9 |  | PMA1 | Unknown | 15.1535 |  | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
F10 |  | GFP70 | Unknown | 16.5435 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 1.0069 | 0.21573 | 0.21426 | 0.19516 | 0.021908
F11 |  | PMA1 | Unknown | 14.3725 |  | 17.0253 | -0.65047 | 0.22363 | 0.22138 | 0.0045107 |  | 14.4705 | -0.11665 | 0.76445 | 0.7691 | 0.047853 | YNB HCRdTerCH5 | 0.8294 | 0.16586 | 0.19997
F12 |  | GFP70 | Unknown | 15.2107 | M199 HCRcTerC10 | 17.0721 | -0.66517 | 0.21619 |  |  | YNB SKD232 | 14.5358 | -0.14042 | 0.72374 |  |  |  | 0.84703 | 0.14505 | 0.17124
G1 |  | PMA1 | Unknown | 14.1418 |  | 17.021 | -0.64912 | 0.22433 |  |  |  | 14.3881 | -0.086661 | 0.8191
G2 |  | PMA1 | Unknown | 14.3732 | [13 empty] | 0.4382 | 0.69755 | 1.5918 | 1.5827 | 0.1775
G3 |  | PMA1 | Unknown | 14.3481 |  | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954 |  |  |  | M199 HCRdTerCH5 | 0.45155 | 0.79268 | 1.7555
G4 |  | GFP70 | Unknown | 15.0172 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD |  | 0.54933 | 0.76953 | 1.4008
G5 |  | GFP70 | Unknown | 15.0161 |  | 15.4567 | -0.4756 | 0.33451 | 0.40221 | 0.074842 |  | 17.259 | -0.72386 | 0.18886 | 0.19984 | 0.02024
G6 |  | GFP70 | Unknown | 14.8292 | YNB HCRdTerNH5 | 15.2749 | -0.40943 | 0.38956 |  |  | YNB SKD232 | 17.2693 | -0.7271 | 0.18746
G7 |  | PMA1 | Unknown | 15.1345 |  | 15.0194 | -0.31643 | 0.48258 |  |  |  | 17.028 | -0.65132 | 0.22319
G8 |  | PMA1 | Unknown | 15.0987
G9 |  | PMA1 | Unknown | 14.8648 |  | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
G10 |  | GFP70 | Unknown | 17.6022 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD
G11 |  | GFP70 | Unknown | 17.5175 |  | 19.7286 | -1.4994 | 0.031665 | 0.037794 | 0.005309 |  | 15.385 | -0.4495 | 0.35522 | 0.38299 | 0.060245
G12 |  | GFP70 | Unknown | 17.4774 | YNB HCRdTerNH5 | 19.3723 | -1.3875 | 0.040971 |  |  | M199 SKD232 | 15.4315 | -0.46642 | 0.34165
H1 |  | GFP70 | Unknown | 17.075 |  | 19.3799 | -1.3899 | 0.040746 |  |  |  | 15.0972 | -0.34475 | 0.45212
H2 |  | GFP70 | Unknown | 17.4386
H3 |  | GFP70 | Unknown | 17.624 |  | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954
H4 |  | PMA1 | Unknown | 15.0223 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD
H5 |  | PMA1 | Unknown | 14.8204 |  | 15.2251 | -0.3913 | 0.40616 | 0.42273 | 0.017524 |  | 15.4706 | -0.16223 | 0.68828 | 0.63546 | 0.066701
H6 |  | PMA1 | Unknown | 14.649 | M199 HCRdTerNH5 | 15.1267 | -0.35549 | 0.44108 |  |  | M199 SKD232 | 15.7546 | -0.25142 | 0.5605
H7 |  | GFP70 | Unknown | 15.4521 |  | 15.1824 | -0.37576 | 0.42096 |  |  |  | 15.5337 | -0.18205 | 0.65758
H8 |  | GFP70 | Unknown | 15.2753
H9 |  | GFP70 | Unknown | 15.3163 |  | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
H10 |  | PMA1 | Unknown | 15.0558 |  |  | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD
H11 |  | PMA1 | Unknown | 15.013 |  | 16.7925 | -0.57736 | 0.26463 | 0.24744 | 0.021764 |  | 14.4105 | -0.094813 | 0.80387
H12 |  | PMA1 | Unknown | 14.9429 | M199 HCRdTerNH5 | 17.0294 | -0.65176 | 0.22297 |  |  | YNB HCRdTerCH2 | 14.3385 | -0.068608 | 0.85387
[6 empty] | 16.8453 | -0.59395 | 0.25472 |  |  |  | 14.3725 | -0.080983 | 0.82988
[6 empty] | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954
[7 empty] | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD
[6 empty] | 14.5801 | -0.15654 | 0.69736 |  |  |  | 17.3345 | -0.74757 | 0.17882
[5 empty] | YNB HCRdTerNH6 | 14.7973 | -0.2356 | 0.5813 |  |  | YNB HCRdTerCH2 | 17.3179 | -0.74236 | 0.18098
[6 empty] | 15.1535 | -0.36524 | 0.43128 |  |  |  | 17.5085 | -0.80222 | 0.15768
[6 empty] | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
[7 empty] | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD
[6 empty] | 18.5846 | -1.1402 | 0.072418 |  |  |  | 15.281 | -0.41165 | 0.38757
[5 empty] | YNB HCRdTerNH6 | 18.7138 | -1.1807 | 0.065958 |  |  | M199 HCRdTerCH2 | 15.4778 | -0.48328 | 0.32864
[6 empty] | 18.5755 | -1.1373 | 0.072896 |  |  |  | 15.5019 | -0.49205 | 0.32207
[6 empty] | PMA1 | y = -2.7475x + 14.15 |  |  |  |  | GFP70 | y = -3.1843x + 14.954
[7 empty] | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD
[6 empty] | 15.0975 | -0.34486 | 0.452 |  |  |  | 15.2855 | -0.1041 | 0.78686
[5 empty] | M199 HCRdTerNH6 | 15.1357 | -0.35876 | 0.43776 |  |  | M199 HCRdTerCH2 | 15.1945 | -0.075527 | 0.84038
[6 empty] | 15.0632 | -0.33237 | 0.46518 |  |  |  | 15.2107 | -0.080614 | 0.83059
[6 empty] | GFP70 | y = -3.1843x + 14.954 |  |  |  |  | PMA1 | y = -2.7475x + 14.15
[7 empty] | Log10(x) | x | Avergae | SD |  |  | Log10(x) | x | Avergae | SD
[6 empty] | 16.5624 | -0.5051 | 0.31253 |  |  |  | 14.1418 | 0.0029845 | 1.0069
[5 empty] | M199 HCRdTerNH6 | 16.4906 | -0.48256 | 0.32919 |  |  | YNB HCRdTerCH5 | 14.3732 | -0.081237 | 0.8294
[6 empty] | 16.5435 | -0.49917 | 0.31683 |  |  |  | 14.3481 | -0.072102 | 0.84703
[12 empty] | GFP70 | y = -3.1843x + 14.954
[13 empty] | Log10(x) | x | Avergae | SD
[12 empty] | 17.075 | -0.66608 | 0.21573
[11 empty] | YNB HCRdTerCH5 | 17.4386 | -0.78027 | 0.16586
[12 empty] | 17.624 | -0.83849 | 0.14505
[12 empty] | PMA1 | y = -2.7475x + 14.15
[13 empty] | Log10(x) | x | Avergae | SD
[12 empty] | 15.1345 | -0.35833 | 0.4382
[11 empty] | M199 HCRdTerCH5 | 15.0987 | -0.3453 | 0.45155
[12 empty] | 14.8648 | -0.26016 | 0.54933
[12 empty] | GFP70 | y = -3.1843x + 14.954
[13 empty] | Log10(x) | x | Avergae | SD
[12 empty] | 15.4521 | -0.15642 | 0.69755
[11 empty] | M199 HCRdTerCH5 | 15.2753 | -0.1009 | 0.79268
[12 empty] | 15.3163 | -0.11378 | 0.76953